## Slide 1
Solar cell materials:
simulation, optical and photoelectric characterization
Prof. Oleg OLIKH
General Physics Department, Faculty of Physics, Taras Shevchenko National University of Kyiv
Prof. Serhiy KONDRATENKO
Department of Optics, Faculty of Physics, Taras Shevchenko National University of Kyiv

## Slide 2
500 students
80 lecturers
140 researchers

## Slide 3
1. Experimental investigations of semiconductor structures for thermoelectrics and solar cells
Current-voltage measurement of solar cells (20 mV – 200 V, 10 nA – 1 A, 150 – 350 K)
under AM1.5 irradiation

## Slide 4
1. Experimental investigations of semiconductor structures for thermoelectrics and solar cells
Capacitance-voltage measurements of semiconductor barrier structures (20 Hz – 1MHz, 1fF – 10 F, 5mV – 10 V)

## Slide 5
1. Experimental investigations of semiconductor structures for thermoelectrics and solar cells
Impedance and Capacitance Spectroscopies

## Slide 6
1. Experimental investigations of semiconductor structures for thermoelectrics and solar cells
Photoluminescence, photoconductivity and photovoltage spectroscopies (10-400 K, 0.25-10 μm, pA low current sesitivity)

## Slide 7
1. Experimental investigations of semiconductor structures for thermoelectrics and solar cells
Raman Spectroscopy
Photoconductivity transients

## Slide 8
Optical diagnostics of solar cell materials
Raman Spectroscopy

## Slide 9
1. Experimental investigations of semiconductor structures for thermoelectrics and solar cells
AFM and Kelvin Probe Force Microscopy

## Slide 10
1. Experimental investigations of semiconductor structures for thermoelectrics and solar cells
Determination of semiconductor structures’ parameters under ultrasound action (100 kHz – 30 MHz, transverse and longitudinal waves)

## Slide 11
Photoelectric and Photoluminescence spectroscopy
Photoconductivity transients and thermally stimulated conductivity
Transport measurements
Experimental facilities
Temperature range:
10-400K
Spectral range
0.25-10 μm
pA low current sensitivity
Lock-in amplifier low noise detection
Semiconductor characterization setup
AFM and Kelvin Probe Force Microscopy
Sample preparation and other characterization facilities
Spin and spray coating thin film deposition
Spectral ellipsometry
Optical transmission and absorption spectroscopy

## Slide 12
2. Using machine learning for estimation of defect contamination in solar cells
SCIENTIFIC RESEARCH
Simulation of photovoltaic structures for labeled dataset preparation
Exploring, teaching, and tunning machine learning algorithms
Testing of developed models on actual silicon solar cells

## Slide 13
Electro-chemical etching of multilayer porous silicon
Gravimetry, Optical and scanning electron microscopy
Spectroscopic optical techniques
3. Synthesis of silicon multilayer porous structures and investigation of their structure, optical, and thermal properties

## Slide 14
Photoacoustic and Photothermal techniques :
amplitude-frequency and phase-frequency responses
time and temperature dependent response of informative signal
photoacoustic and photothermal imaging
thermal diffusivity and thermal conductivity parameters
3. Synthesis of silicon multilayer porous structures and investigation of their structure, optical, and thermal properties

## Slide 15
4. Modeling of phonon transport properties of nanostructures for thermal management and thermoelectric applications
Molecular dynamics simulation of thermal conductivity of semiconductor nanostructures
Anharmonic lattice dynamics
Analytical modeling of phonon transport in nanostructures
Finite element modeling of thermal phenomena in materials

## Slide 16
Group Research topics
Solar cells and IR Photodetectors
Physics of Low-Dimensional Systems
Photoconductivity of Semiconductor Heterostructures

## Slide 17
n-Si (001)
PEDOT:PSS
5 vol% DMSO and 0.025 % SDS were added to
the PEDOT:PSS solution
The native oxide on the Si surface was removed by hydrofluoric acid (5% HF for 30 s)
PEDOT:PSS was spin coated at 2000 rpm for 20 s and annealed at 140 °C for 30 min under standard atmospheric conditions
Fabrication of PEDOT:PSS thin films on silicon
2000 rpm for 20 s
12 mm
30 - 50 nm

## Slide 18
n-Si (001)
PEDOT:PSS
In/Ga eutectic back contact
Fabrication of PEDOT:PSS – Si photovoltaic cells
1.0
8.0
1.5
1.0
0.18
0.35
9.0
A
B
(34 %)
(25 %)

## Slide 19
Taras Shevchenko National University of Kyiv, 2024
Prof. Dr. Serhiy Kondratenko
Taras Shevchenko National University of Kyiv
Department of Optics
64/13, Volodymyrska Street, City of Kyiv, Ukraine, 01601
Kondratenko@knu.ua
Prof. Dr. Oleg Olikh
Taras Shevchenko National University of Kyiv
General Physics Department
64/13, Volodymyrska Street, City of Kyiv, Ukraine, 01601
olegolikh@knu.ua