## Slide 1
1st Workshop Green Energy Technologies for the Future
Solar cell materials:
simulation, optical and photoelectric characterization
Prof. Serhiy KONDRATENKO
Department of Optics, Faculty of Physics, Taras Shevchenko National University of Kyiv
Prof. Oleg OLIKH
General Physics Department, Faculty of Physics, Taras Shevchenko National University of Kyiv

## Slide 2
500 students
80 lecturers
140 researchers

## Slide 3
EDUCATION
Master’s program “Physics of Nanosystems”
Selected courses:
Nanoelectronics
Physical properties of nanosystems
Theory and modelling of nanostructures
Physics of semiconductor heterostructures
Theory of nanocomposites
Physics of carbon nanocomposites
Modern problems in physics of nanosystems
Opportunities for students:
Various types of educational internships
Laboratory work
Participation in research projects
Academic mobility

## Slide 4
1. Experimental investigations of semiconductor structures for thermoelectrics and solar cells
SCIENTIFIC RESEARCH
Current-voltage measurement of solar cells (20 mV – 200 V, 10 nA – 1 A, 150 – 350 K)
Capacitance-voltage measurements of semiconductor barrier structures (20 Hz – 1MHz, 1fF – 10 F, 5mV – 10 V)
Determination of semiconductor structures’ parameters under ultrasound action (100 kHz – 30 MHz, transverse and longitudinal waves)

## Slide 5
2. Using machine learning for estimation of defect contamination in solar cells
SCIENTIFIC RESEARCH
Simulation of photovoltaic structures for labeled dataset preparation
Exploring, teaching, and tunning machine learning algorithms
Testing of developed models on actual silicon solar cells

## Slide 7
SCIENTIFIC RESEARCH
Electro-chemical etching of multilayer porous silicon
Gravimetry, Optical and scanning electron microscopy
Spectroscopic optical techniques
3. Synthesis of silicon multilayer porous structures and investigation of their structure, optical, and thermal properties

## Slide 8
Photoacoustic and Photothermal techniques :
amplitude-frequency and phase-frequency responses
time and temperature dependent response of informative signal
photoacoustic and photothermal imaging
thermal diffusivity and thermal conductivity parameters
3. Synthesis of silicon multilayer porous structures and investigation of their structure, optical, and thermal properties
SCIENTIFIC RESEARCH

## Slide 9
4. Modeling of phonon transport properties of nanostructures for thermal management and thermoelectric applications
Molecular dynamics simulation of thermal conductivity of semiconductor nanostructures
Anharmonic lattice dynamics
Analytical modeling of phonon transport in nanostructures
Finite element modeling of thermal phenomena in materials
SCIENTIFIC RESEARCH

## Slide 11
EXCHANGE OF SCIENTIFIC EXPERIENCE
PAVLO LISHCHUK: joint experimental research on thermal transport in semiconductor structures (2017-2019).
KATERYNA DUBYK: experimental research on colloidal solutions of nanoparticles with varying content of carbon materials (2016, 2017).
VIKTOR MANDROLKO during academic mobility within the Erasmus+ program (2021-2022)
LESIA CHEPELA during academic mobility within the Erasmus+ program (2019, 2023).

## Slide 12
1st Workshop Green Energy Technologies for the Future
Group of Optical diagnostics of semiconductor materials
Prof. Serhiy Kondratenko

## Slide 13
EDUCATION
Master’s program “Optics and laser physics”
Selected courses:
Nanoelectronics
Photovoltaics
Optical diagnostics of Semiconductors
Solis State Physics
Bachelor’s program “Optics”
Selected courses:
Semiconductor Optics
Electronics
Laser Physics
X-ray and UV Optics

## Slide 14
1st Workshop Green Energy Technologies for the Future
Group Research topics
Solar cells and IR Photodetectors
Physics of Low-Dimensional Systems
Photoconductivity of Semiconductor Heterostructures

## Slide 15
1st Workshop Green Energy Technologies for the Future
Photoelectric and Photoluminescence spectroscopy
Photoconductivity transients and thermally stimulated conductivity
Transport measurements
Experimental facilities
Temperature range:
10-400K
Spectral range
0.25-10 μm
pA low current sensitivity
Lock-in amplifier low noise detection
Semiconductor characterization setup
AFM and Kelvin Probe Force Microscopy
Sample preparation and other characterization facilities
Spin and spray coating thin film deposition
Spectral ellipsometry
Optical transmission and absorption spectroscopy

## Slide 16
1st Workshop Green Energy Technologies for the Future
Optical diagnostics of solar cell materials
Raman Spectroscopy

## Slide 17
1st Workshop Green Energy Technologies for the Future
Ongoing projects
Innovative Solar Cells NATO project (2021-2025)
in collaboration with
Lashkaryov Institute of Semiconductor Physics NASU (ISP NASU), Kyiv, Ukraine (Prof. Dr. Alexei Nazarov)
Université catholique de Louvain, Louvain-la-Neuve, Belgium (Prof. Dr. Denis Flandre)
Development of advanced thin film optoelectronic materials based on coupled
hybrids of quantum dot and two-dimensional nanostructures
National Research Foundation of Ukraine (2020-2023)
GeSn alloys for improved current generation and charge carrier collection in tandem solar cell
CRDF Global (2020-2021)
Completed project
in collaboration with Arkansas Institute for Nanoscience and Engineering, University of Arkansas
(Prof. Dr. Gregory Salamo)

## Slide 18
1st Workshop Green Energy Technologies for the Future
Photoluminescence and photovoltage spectroscopy

## Slide 19
1st Workshop Green Energy Technologies for the Future
Analyzer
Substrate
Epitaxial layers
Photoexcitation
Photoconductivity spectroscopy

## Slide 20
1st Workshop Green Energy Technologies for the Future
Photoconductivity transients
Life-time of photogenerated electron hole pairs

## Slide 21
1st Workshop Green Energy Technologies for the Future
J-V measurements and simulations
2/3 Diode Fit
Performing of the solar cell parameters simulations :
Open-circuit voltage, and short-circuit current
Power conversion efficiency
J-V and energy structure simulations
Serial resistance and fill factors
Parasitic shunt resistance

## Slide 22
1st Workshop Green Energy Technologies for the Future
Position (nm)
Position (nm)
10 20 30 40
0
25
20
15
10
5
0
Simulations of band diagram and parameters of solar cells

## Slide 23
n-Si (001)
PEDOT:PSS
5 vol% DMSO and 0.025 % SDS were added to
the PEDOT:PSS solution
The native oxide on the Si surface was removed by hydrofluoric acid (5% HF for 30 s)
PEDOT:PSS was spin coated at 2000 rpm for 20 s and annealed at 140 °C for 30 min under standard atmospheric conditions
Fabrication of PEDOT:PSS thin films on silicon
2000 rpm for 20 s
12 mm
30 - 50 nm

## Slide 24
n-Si (001)
PEDOT:PSS
In/Ga eutectic back contact
Fabrication of PEDOT:PSS – Si photovoltaic cells
1.0
8.0
1.5
1.0
0.18
0.35
9.0
A
B
(34 %)
(25 %)

## Slide 25
PEDOT:PSS / n-Si(001) Schottky barrier
n-Si
HOMO
LUMO
Ec-EF = 0.15 eV
UPS: qfp = 4.8 ± 0.1 eV
* To determine the barrier height at the n-Si/PEDOT:PSS junctions the the C-V dependence was investigated
PEDOT n-Si
HOMO
LUMO
nearly ideal Schottky barrier height formation
PEDOT:PSS even induces a strong inversion

## Slide 26
IV and CV characterization of Au/PEDOT:PSS/n-Si
n - Si
PEDOT : PSS
Au
InGa

## Slide 27
I-V characteristics under AM1.5 irradiation

## Slide 28
1st Workshop Green Energy Technologies for the Future
Transparent conductive PEDOT:PSS
Ge1-xSnx (direct bandgap 0.3 – 0.8 eV)
Ge (indirect bandgap 0.67 eV)
Si (indirect bandgap 1.12 eV)
Energy that can be used by a GeSn alloys
Compositional dependencies of the
direct and indirect bandgaps of GeSn
Si
Ge
GeSn
Si substrate
Ge
Ge1-xSnx
2020 U.S.-Ukraine Alternative Energy Research Competition

## Slide 29
Taras Shevchenko National University of Kyiv, 2023
Prof. Dr. Serhiy Kondratenko
Taras Shevchenko National University of Kyiv
Division of Optics
64/13, Volodymyrska Street, City of Kyiv, Ukraine, 01601
Kondratenko@knu.ua
Prof. Dr. Oleg Olikh
Taras Shevchenko National University of Kyiv
General Physics Department
64/13, Volodymyrska Street, City of Kyiv, Ukraine, 01601
olegolikh@knu.ua